## Contents
Table of Contents
Tab | Notes
Disclaimer | Please read
Demand | Monthly peak demand data for this year and last year
Energy | Monthly energy data for this year and last year
Load Zones | Monthly peak demand and energy data for this year by load zone
Weather Zones | Monthly peak demand and energy data for this year by weather zone
Energy by Fuel Type | Actual energy and percentages by fuel type
Energy by Fuel Chart | Stacked chart of MWh by fuel type by month
Energy Comparisons | Bar graphs comparing this year's energy with last year's and with forecasted
Demand Comparisons | Graphs comparing this year's monthly peaks with last year's and with forecasted
2026-03-09 | 10:03

## Disclaimer
DEMAND AND ENERGY REPORT
For Planning Purposes Only
This ERCOT Working Paper has been prepared for specific ERCOT and market participant purposes and has been
developed from data provided through the settlement process. The data may contain errors or become obsolete
and thereby affect the conclusions and opinions of the Working Paper. ERCOT MAKES NO WARRANTY, EXPRESS
OR IMPLIED,INCLUDING ANY WARRANTY OF MERCHANTABILITY OR FITNESS FOR ANY PARTICULAR PURPOSE,
AND DISCLAIMS ANY AND ALL LIABILITY WITH RESPECT TO THE ACCURACY OF SAME OR THE FITNESS OR
APPROPRIATENESS OF SAME FOR ANY PARTICULAR USE. THIS ERCOT WORKING PAPER IS SUPPLIED WITH
ALL FAULTS.
ERCOT publishes the values in this report based on the Initial Settlement occurring approximately five days after
the Operating Day. These values are updated to reflect Final Settlements (occurring 55 days after each Operating
Day of the month), lagged by two months after the end of the month. On each tab of this spreadshet there is a
column titled "Settlement Type" indicating whether the values are based on the Initial or Final Settlement for the month.
In instances where a generator is capable of using multiple fuels, the primary fuel is used in this report.

## Demand
Demand for 2025
Net System Maximum Hourly Demand
Description | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec* | Annual
2025 Demand, MW | 77482.4949 | 80560.4619 | 62924.1706 | 65617.1007 | 78399.1439 | 77395.9676 | 81733.6465 | 83706.8357 | 79949.0894 | 75903.8943 | 64731.6709 | 63172.4491 | 83706.8357
Date | 01/22/2025 | 02/20/2025 | 03/25/2025 | 04/14/2025 | 05/23/2025 | 06/19/2025 | 07/30/2025 | 08/18/2025 | 09/04/2025 | 10/02/2025 | 11/17/2025 | 12/15/2025
Hour ending | 08:00 | 08:00 | 18:00 | 18:00 | 17:00 | 17:00 | 18:00 | 18:00 | 18:00 | 17:00 | 16:00 | 08:00
Day of the week | Wednesday | Thursday | Tuesday | Monday | Friday | Thursday | Wednesday | Monday | Thursday | Thursday | Monday | Monday
Forecasted Demand, MW | 74424.3618 | 77156.0931 | 67470.6218 | 70458.8614 | 80785.8365 | 85792.4785 | 87532.2943 | 90472.0122 | 85344.8142 | 79892.9661 | 70694.8711 | 75774.8431 | 90472.0122
Difference, percent | 4.109% | 4.412% | -6.738% | -6.872% | -2.954% | -9.787% | -6.625% | -7.478% | -6.322% | -4.993% | -8.435% | -16.63% | -7.478%
2024 Demand, MW | 78349.2062 | 55859.7668 | 55305.6286 | 64003.2136 | 77138.5875 | 79697.1876 | 81045.0963 | 85245.1718 | 77812.6461 | 72549.7537 | 60174.1252 | 60244.7459 | 85245.1718
Date | 01/16/2024 | 02/19/2024 | 03/05/2024 | 04/30/2024 | 05/27/2024 | 06/30/2024 | 07/01/2024 | 08/20/2024 | 09/19/2024 | 10/03/2024 | 11/04/2024 | 12/11/2024
Hour ending | 08:00 | 08:00 | 17:00 | 18:00 | 17:00 | 18:00 | 18:00 | 18:00 | 17:00 | 17:00 | 14:00 | 08:00
Day of the week | Tuesday | Monday | Tuesday | Tuesday | Monday | Sunday | Monday | Tuesday | Thursday | Thursday | Monday | Wednesday
Increase, MW | -866.7113 | 24700.695 | 7618.5421 | 1613.8871 | 1260.5564 | -2301.22 | 688.5503 | -1538.3361 | 2136.4433 | 3354.1406 | 4557.5457 | 2927.7032
Increase, percent | -1.106% | 44.22% | 13.78% | 2.522% | 1.634% | -2.888% | 0.8496% | -1.805% | 2.746% | 4.623% | 7.574% | 4.86%
Max All Time, MW | 78349.2062 | 80560.4619 | 62924.1706 | 65617.1007 | 78399.1439 | 80825.6176 | 82964.0895 | 85508.4518 | 84470.1018 | 75903.8943 | 64731.6709 | 74524.9021
Date | 01/16/2024 at 08:00 | 02/20/2025 at 08:00 | 03/25/2025 at 18:00 | 04/14/2025 at 18:00 | 05/23/2025 at 17:00 | 06/27/2023 at 18:00 | 07/31/2023 at 17:00 | 08/10/2023 at 18:00 | 09/08/2023 at 17:00 | 10/02/2025 at 17:00 | 11/17/2025 at 16:00 | 12/23/2022 at 08:00
Net System Maximum Demand based on 15-Minute Intervals
Description | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec* | Annual
2025 Demand, MW | 77629.068 | 80880.4173 | 63124.8322 | 65793.3142 | 78611.2416 | 77485.8347 | 81908.3214 | 83968.4633 | 80076.4651 | 76048.8219 | 64873.8833 | 63285.3516 | 83968.4633
Date | 01/22/2025 | 02/20/2025 | 03/25/2025 | 04/14/2025 | 05/23/2025 | 06/19/2025 | 07/30/2025 | 08/18/2025 | 09/04/2025 | 10/02/2025 | 11/17/2025 | 12/15/2025
Interval ending | 07:45 | 07:30 | 17:30 | 18:00 | 16:45 | 17:00 | 17:00 | 17:00 | 17:30 | 16:45 | 15:45 | 07:15
Day of the week | Wednesday | Thursday | Tuesday | Monday | Friday | Thursday | Wednesday | Monday | Thursday | Thursday | Monday | Monday
Max All Time, MW | 78531.9136 | 80880.4173 | 63124.8322 | 65793.3142 | 78611.2416 | 81017.5983 | 83032.4767 | 85636.8846 | 84540.2922 | 76048.8219 | 64873.8833 | 74628.9366
Date | 01/16/2024 at 07:45 | 02/20/2025 at 07:30 | 03/25/2025 at 17:30 | 04/14/2025 at 18:00 | 05/23/2025 at 16:45 | 06/27/2023 at 17:00 | 07/31/2023 at 17:00 | 08/10/2023 at 17:00 | 09/08/2023 at 16:45 | 10/02/2025 at 16:45 | 11/17/2025 at 15:45 | 12/23/2022 at 08:00
Net System Minimum Demand
Description | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec*
2025 Demand, MW | 38822.9447 | 38682.9208 | 38375.4816 | 38566.3254 | 38283.4523 | 44191.2315 | 47197.2954 | 49326.8533 | 43594.1864 | 40386.6936 | 38923.5635 | 41193.1246
Date | 01/05/2025 | 02/03/2025 | 03/16/2025 | 04/10/2025 | 05/04/2025 | 06/01/2025 | 07/06/2025 | 08/24/2025 | 09/28/2025 | 10/30/2025 | 11/02/2025 | 12/25/2025
Interval ending | 05:00 | 03:45 | 03:45 | 04:00 | 05:00 | 07:00 | 07:00 | 07:15 | 05:15 | 03:15 | 04:00 | 05:00
Day of the week | Sunday | Monday | Sunday | Thursday | Sunday | Sunday | Sunday | Sunday | Sunday | Thursday | Sunday | Thursday
* Information for this month has been updated based on final settlements.
Totals may not match the ERCOT values because of rounding and subsequent settlements.

## Energy
Energy for 2025
Net Energy for Load
Description | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec* | Annual
2025 Energy, MWh | 40486228.3787 | 34700518.5486 | 34718582.3846 | 36505713.9284 | 41212437.3019 | 45166832.3011 | 47846335.8723 | 49413440.9131 | 43977057.6189 | 40985750.8379 | 35560556.4008 | 37833024.3758 | 488406478.862
2025 YTD Energy, MWh | 40486228.3787 | 75186746.9272 | 109905329.3118 | 146411043.2402 | 187623480.542 | 232790312.8432 | 280636648.7155 | 330050089.6286 | 374027147.2475 | 415012898.0854 | 450573454.4862 | 488406478.862
Forecasted Energy, MWh | 43619879.143 | 38813539.441 | 40699904.659 | 40139803.481 | 45411816.329 | 50094642.928 | 53642903.251 | 54303418.934 | 47761795.829 | 45184503.53 | 41724563.911 | 45233713.067 | 546630484.503
Difference, percent | -7.184% | -10.6% | -14.7% | -9.054% | -9.247% | -9.837% | -10.81% | -9.005% | -7.924% | -9.292% | -14.77% | -16.36% | -10.65%
YTD Forecasted Energy, MWh | 43619879.143 | 82433418.584 | 123133323.243 | 163273126.724 | 208684943.053 | 258779585.981 | 312422489.232 | 366725908.166 | 414487703.995 | 459672207.525 | 501396771.436 | 546630484.503
YTD Difference, percent | -7.184% | -8.791% | -10.74% | -10.33% | -10.09% | -10.04% | -10.17% | -10% | -9.762% | -9.716% | -10.14% | -10.65%
2024 Energy, MWh | 38184181.006 | 30628455.2518 | 32205070.4062 | 33462691.8967 | 39973544.0269 | 44374813.7807 | 44556097.443 | 49282922.5869 | 41002544.4307 | 39228005.3317 | 33761214.1942 | 34917729.338 | 461577269.6928
Increase, MWh | 2302047.3727 | 4072063.2968 | 2513511.9784 | 3043022.0317 | 1238893.275 | 792018.5204 | 3290238.4293 | 130518.3263 | 2974513.1882 | 1757745.5062 | 1799342.2065 | 2915295.0378 | 26829209.1692
Increase, percent | 6.029% | 13.3% | 7.805% | 9.094% | 3.099% | 1.785% | 7.384% | 0.2648% | 7.255% | 4.481% | 5.33% | 8.349% | 5.812%
2024 YTD Energy, MWh | 38184181.006 | 68812636.2578 | 101017706.664 | 134480398.5607 | 174453942.5876 | 218828756.3684 | 263384853.8113 | 312667776.3982 | 353670320.8289 | 392898326.1606 | 426659540.3548 | 461577269.6928
Increase, MWh | 2302047.3727 | 6374110.6695 | 8887622.6478 | 11930644.6795 | 13169537.9544 | 13961556.4748 | 17251794.9042 | 17382313.2304 | 20356826.4186 | 22114571.9248 | 23913914.1314 | 26829209.1692
Increase, percent | 6.029% | 9.263% | 8.798% | 8.872% | 7.549% | 6.38% | 6.55% | 5.559% | 5.756% | 5.629% | 5.605% | 5.812%
Net System Load Factors based on Hourly Demand
Description | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec* | Annual
Demand Factors 2025 | 70.23% | 64.1% | 74.26% | 77.27% | 70.66% | 81.05% | 78.68% | 79.34% | 76.4% | 72.58% | 76.19% | 80.5% | 66.61%
Demand Factors 2024 | 65.51% | 78.78% | 78.37% | 72.61% | 69.65% | 77.33% | 73.89% | 77.71% | 73.19% | 72.68% | 77.82% | 77.9% | 61.64%
Net System Load Factors based on 15-Minute Demand
Description | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec* | Annual
Demand Factors 2025 | 70.1% | 63.84% | 74.02% | 77.06% | 70.46% | 80.96% | 78.51% | 79.1% | 76.28% | 72.44% | 76.03% | 80.35% | 66.4%
* Information for this month has been updated based on final settlements.

## Load Zones
Demand and Energy by Load Settlement Zone for 2025
Based on 15-minute Intervals
Net Zone Demand Coincident with ERCOT System Peak, MW
Settlement Zone | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec*
LZ_AEN | 2513.5346 | 2697.2056 | 2101.1489 | 2124.2086 | 2589.3451 | 2643.3609 | 2677.7636 | 2891.048 | 2757.1766 | 2490.7952 | 2029.0902 | 1940.3081
LZ_CPS | 5103.4723 | 5146.9652 | 3918.1565 | 4326.1308 | 4970.3815 | 4931.7832 | 4976.5722 | 5460.8932 | 5247.7114 | 4736.8747 | 3769.4897 | 3456.1007
LZ_HOUSTON | 15562.6633 | 16902.6659 | 16354.2132 | 16489.9494 | 19979.4879 | 20773.3274 | 21230.5755 | 21673.3515 | 20946.2124 | 19172.711 | 15833.8586 | 14269.0049
LZ_LCRA | 4015.3113 | 4222.6671 | 2453.5875 | 2655.8926 | 3222.2846 | 3224.8986 | 3357.1058 | 3617.735 | 3472.8145 | 3136.467 | 2427.6192 | 2682.4425
LZ_NORTH | 26631.6428 | 30197.2638 | 18671.7397 | 20265.1309 | 25002.0775 | 25773.0525 | 28497.7258 | 28956.8939 | 26692.6507 | 23463.6218 | 20034.6812 | 22873.7797
LZ_RAYBN | 1442.7657 | 1746.6248 | 714.7561 | 802.774 | 1100.6064 | 1185.6601 | 1399.1626 | 1388.6769 | 1211.0746 | 999.2714 | 763.2869 | 1218.0884
LZ_SOUTH | 12058.8326 | 10860.1654 | 8741.8885 | 8999.0338 | 10695.4715 | 9407.8574 | 9966.9727 | 10504.4059 | 10111.42 | 10068.0518 | 9172.0221 | 7852.183
LZ_WEST | 10300.8455 | 9106.8595 | 10169.3419 | 10130.1942 | 11051.587 | 9545.8947 | 9802.4432 | 9475.4589 | 9637.405 | 11981.0291 | 10843.8355 | 8993.4443
Net Zone Non-Coincident Peak Demand, MW
Settlement Zone | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec*
LZ_AEN | 2513.5346 | 2697.8815 | 2102.7722 | 2283.2701 | 2724.9508 | 2643.8976 | 2825.8438 | 2926.1172 | 2802.1824 | 2494.9709 | 2051.9444 | 1958.1799
Date and Time | 22 @ 07:45 | 20 @ 07:45 | 14 @ 17:45 | 3 @ 18:00 | 14 @ 18:00 | 19 @ 17:30 | 31 @ 18:30 | 18 @ 18:15 | 23 @ 18:15 | 2 @ 17:00 | 7 @ 16:00 | 15 @ 08:00
LZ_CPS | 5115.5702 | 5146.9652 | 3976.5461 | 4612.4636 | 5459.585 | 5357.1194 | 5473.2821 | 5663.2073 | 5342.2199 | 4768.6128 | 3810.9371 | 3500.105
Date and Time | 22 @ 07:30 | 20 @ 07:30 | 31 @ 16:15 | 3 @ 18:00 | 14 @ 18:00 | 9 @ 18:00 | 31 @ 18:30 | 29 @ 18:00 | 23 @ 18:30 | 1 @ 17:30 | 17 @ 16:45 | 2 @ 07:15
LZ_HOUSTON | 16479.6481 | 17309.9114 | 16498.923 | 17029.9265 | 20132.2126 | 20991.9711 | 21642.4101 | 21687.3953 | 21012.3996 | 19727.4587 | 16846.9421 | 14449.3536
Date and Time | 20 @ 10:15 | 19 @ 19:00 | 31 @ 17:00 | 4 @ 14:15 | 20 @ 17:00 | 19 @ 15:30 | 29 @ 17:00 | 18 @ 14:30 | 5 @ 16:30 | 7 @ 16:30 | 21 @ 15:15 | 15 @ 08:30
LZ_LCRA | 4015.3113 | 4222.8652 | 2463.4407 | 2655.8926 | 3391.0274 | 3344.8597 | 3642.0025 | 3657.9688 | 3581.1232 | 3144.9651 | 2438.0755 | 2727.0146
Date and Time | 22 @ 07:45 | 20 @ 07:15 | 25 @ 18:00 | 14 @ 18:00 | 14 @ 17:30 | 19 @ 18:45 | 31 @ 18:45 | 18 @ 18:00 | 4 @ 18:30 | 1 @ 17:45 | 17 @ 16:00 | 9 @ 07:30
LZ_NORTH | 26701.1656 | 30197.2638 | 18671.7397 | 20341.2338 | 25002.0775 | 27104.725 | 29188.7404 | 29610.317 | 26927.3529 | 23862.0924 | 20253.5044 | 22897.0603
Date and Time | 22 @ 07:15 | 20 @ 07:30 | 25 @ 17:30 | 22 @ 17:45 | 23 @ 16:45 | 30 @ 17:45 | 31 @ 17:00 | 19 @ 16:15 | 23 @ 17:00 | 6 @ 17:00 | 18 @ 15:15 | 15 @ 07:30
LZ_RAYBN | 1467.2071 | 1761.7912 | 874.988 | 847.3157 | 1127.6849 | 1256.0715 | 1445.7757 | 1442.0013 | 1219.332 | 1071.4713 | 957.8503 | 1218.0884
Date and Time | 22 @ 07:15 | 20 @ 07:00 | 10 @ 07:30 | 22 @ 18:30 | 25 @ 17:45 | 30 @ 18:00 | 31 @ 18:00 | 19 @ 17:45 | 4 @ 18:15 | 6 @ 17:30 | 30 @ 19:30 | 15 @ 07:15
LZ_SOUTH | 12058.8326 | 10900.7593 | 9187.8902 | 9535.2734 | 10750.5578 | 10617.8588 | 10708.9128 | 11418.2888 | 10813.9823 | 10410.3275 | 9172.0221 | 8289.455
Date and Time | 22 @ 07:45 | 20 @ 07:15 | 14 @ 16:45 | 30 @ 18:00 | 22 @ 17:00 | 5 @ 16:30 | 24 @ 19:45 | 29 @ 16:00 | 5 @ 18:15 | 6 @ 16:45 | 17 @ 15:45 | 9 @ 07:15
LZ_WEST | 10709.6242 | 10792.0446 | 10169.3419 | 10709.5314 | 11278.6299 | 11536.3893 | 12019.3536 | 12143.8566 | 12149.7765 | 12000.8209 | 11006.2653 | 11001.7765
Date and Time | 8 @ 09:00 | 18 @ 20:45 | 25 @ 17:30 | 28 @ 16:00 | 22 @ 14:45 | 16 @ 14:30 | 26 @ 16:45 | 28 @ 14:15 | 21 @ 15:45 | 2 @ 16:00 | 15 @ 15:30 | 31 @ 07:45
Net Energy for Load, MWh
Settlement Zone | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec*
LZ_AEN | 1217265.7143 | 1060795.1148 | 1050245.3212 | 1137365.285 | 1316647.0068 | 1440304.1316 | 1466441.9585 | 1584158.7175 | 1392015.3898 | 1284971.2725 | 1041317.5315 | 1085481.5019
LZ_CPS | 2265102.9542 | 1903744.3778 | 1889383.349 | 2086602.3338 | 2497605.4773 | 2687111.1965 | 2750602.1486 | 3042539.606 | 2584747.7313 | 2380259.7986 | 1851707.7696 | 1952490.9094
LZ_HOUSTON | 9097030.5876 | 8095378.7878 | 8814175.1777 | 9494185.975 | 10784429.3783 | 11614332.6355 | 12219295.0997 | 12325969.1565 | 11166031.7176 | 10310558.7319 | 8739856.065 | 8879639.1262
LZ_LCRA | 1633694.0375 | 1325369.2449 | 1169753.0999 | 1271848.8397 | 1518121.3041 | 1703421.6229 | 1742804.4257 | 1903384.5761 | 1648481.5028 | 1503785.0434 | 1214515.7123 | 1358634.1844
LZ_NORTH | 13021754.1581 | 10862294.4198 | 9874192.2431 | 10353148.8926 | 11626924.0673 | 13806300.1772 | 15011376.2384 | 15302495.8073 | 13048096.3396 | 11800033.5171 | 10177883.9879 | 11505980.1055
LZ_RAYBN | 636054.5953 | 490432.3121 | 376643.2604 | 383708.2877 | 434710.1516 | 559728.3717 | 635840.5591 | 638128.018 | 521190.9321 | 443428.1319 | 395452.2431 | 513618.0872
LZ_SOUTH | 5420738.79 | 4688985.82 | 4791465.9155 | 5047721.145 | 5857474.8729 | 6034974.8149 | 6272920.2428 | 6657236.0159 | 6060394.5709 | 5755672.6236 | 4989124.0384 | 5066617.6513
LZ_WEST | 7194587.5417 | 6273518.4713 | 6752724.0178 | 6731133.1696 | 7176525.0436 | 7320659.3508 | 7747055.1995 | 7959529.0158 | 7556099.4348 | 7507041.719 | 7150699.0529 | 7470562.8099
* Information for this month has been updated based on final settlements.
Totals may not match the ERCOT values because of rounding and subsequent settlements.

## Weather Zones
Demand and Energy by Weather Zone for 2025
Based on 15-minute Intervals
Net Zone Demand Coincident with ERCOT System Peak, MW
Weather Zone | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec*
COAST | 16763.5327 | 18153.9688 | 17335.8341 | 17428.5312 | 21209.5303 | 21838.837 | 22309.903 | 22806.1727 | 21988.0235 | 20221.9801 | 16865.4806 | 15244.2504
EAST | 3321.6085 | 3490.288 | 2060.3491 | 2135.3985 | 2763.442 | 2733.8821 | 2900.8744 | 2917.2257 | 2670.2849 | 2522.1855 | 2097.3586 | 2601.5484
FWEST | 7277.439 | 6248.7023 | 7746.4718 | 7747.3411 | 8019.4559 | 6852.9671 | 6963.4495 | 6870.2157 | 6856.2009 | 8690.8282 | 8094.5826 | 6737.757
NCENT | 24314.33 | 27966.602 | 17032.0294 | 18606.67 | 22933.7532 | 23773.0108 | 26477.7495 | 26884.5308 | 24813.6242 | 21529.1317 | 18347.9605 | 21092.1846
NORTH | 2236.4805 | 2023.8818 | 1713.4675 | 1715.6077 | 2180.1874 | 1866.3269 | 2023.3166 | 1951.229 | 1848.076 | 2389.8883 | 1914.1344 | 1491.294
SCENT | 14333.7524 | 14615.9508 | 10692.8521 | 11433.9785 | 13406.0638 | 12850.7841 | 13133.0523 | 14255.725 | 13670.796 | 12943.6956 | 10408.1547 | 10153.4253
SOUTH | 7325.0398 | 6164.0994 | 5093.7089 | 5210.8367 | 6197.0116 | 5663.925 | 6123.921 | 6406.5894 | 6259.024 | 5867.3654 | 5519.6968 | 4280.5115
WEST | 2056.8851 | 2216.9244 | 1450.1193 | 1514.9505 | 1901.7974 | 1906.1018 | 1976.055 | 1876.775 | 1970.4356 | 1883.747 | 1626.515 | 1684.3803
Net Zone Non-Coincident Peak Demand, MW
Weather Zone | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec*
COAST | 17610.4807 | 18574.3471 | 17512.3031 | 18023.4921 | 21372.4356 | 22064.1277 | 22748.4006 | 22814.5575 | 22054.1557 | 20717.4232 | 17800.6043 | 15438.2133
Date and Time | 20 @ 10:15 | 19 @ 19:00 | 31 @ 17:00 | 4 @ 14:15 | 22 @ 16:45 | 19 @ 15:00 | 23 @ 17:00 | 18 @ 16:45 | 4 @ 17:00 | 7 @ 16:30 | 21 @ 15:15 | 15 @ 08:30
EAST | 3353.7381 | 3533.649 | 2106.5828 | 2283.9957 | 2763.442 | 2809.9535 | 3002.0202 | 3011.6403 | 2834.9481 | 2637.271 | 2145.0793 | 2639.59
Date and Time | 22 @ 07:15 | 20 @ 07:15 | 6 @ 07:30 | 22 @ 17:00 | 23 @ 16:45 | 30 @ 17:45 | 31 @ 16:45 | 1 @ 15:15 | 23 @ 15:45 | 7 @ 16:00 | 17 @ 14:15 | 15 @ 07:30
FWEST | 7832.4849 | 7640.5056 | 7784.0745 | 8105.0428 | 8293.4359 | 8349.1833 | 8503.874 | 8732.1578 | 8834.4259 | 8730.3536 | 8252.6977 | 8241.6559
Date and Time | 8 @ 16:00 | 8 @ 16:30 | 28 @ 18:45 | 13 @ 14:45 | 31 @ 17:15 | 12 @ 17:00 | 26 @ 15:15 | 16 @ 13:45 | 21 @ 17:30 | 2 @ 16:00 | 15 @ 15:15 | 26 @ 14:45
NCENT | 24409.7367 | 27966.602 | 17049.8793 | 18606.67 | 22942.1744 | 25119.3351 | 27096.9553 | 27634.5909 | 24837.1326 | 21924.4122 | 18555.1982 | 21092.1846
Date and Time | 22 @ 07:30 | 20 @ 07:30 | 25 @ 17:45 | 14 @ 18:00 | 23 @ 17:00 | 30 @ 17:00 | 31 @ 17:00 | 19 @ 16:15 | 23 @ 17:00 | 6 @ 16:45 | 18 @ 15:00 | 15 @ 07:15
NORTH | 2262.2473 | 2422.7233 | 1723.4849 | 1940.5114 | 2249.4047 | 2468.1573 | 2759.4968 | 2709.9851 | 2506.861 | 2390.1241 | 2068.5737 | 2105.6717
Date and Time | 21 @ 07:30 | 19 @ 10:30 | 25 @ 18:00 | 28 @ 17:30 | 24 @ 17:45 | 29 @ 17:15 | 25 @ 14:00 | 19 @ 16:30 | 15 @ 16:30 | 2 @ 17:00 | 30 @ 18:00 | 14 @ 09:30
SCENT | 14336.386 | 14615.9508 | 10703.3973 | 11811.5819 | 14285.1637 | 13803.5687 | 14280.6164 | 14712.6197 | 14213.8377 | 12982.0309 | 10469.211 | 10207.4045
Date and Time | 22 @ 07:30 | 20 @ 07:30 | 25 @ 17:45 | 3 @ 18:00 | 14 @ 18:00 | 9 @ 18:30 | 31 @ 18:45 | 1 @ 17:30 | 5 @ 18:30 | 2 @ 17:30 | 17 @ 16:30 | 9 @ 07:30
SOUTH | 7325.0398 | 6469.9229 | 5604.4932 | 5680.1209 | 6301.7745 | 6420.6991 | 6519.7142 | 6754.9706 | 6651.0822 | 6263.7256 | 5642.5225 | 4970.6848
Date and Time | 22 @ 07:45 | 21 @ 19:45 | 14 @ 16:30 | 30 @ 18:00 | 19 @ 16:30 | 10 @ 16:45 | 24 @ 15:15 | 13 @ 15:30 | 24 @ 17:00 | 6 @ 17:00 | 8 @ 15:45 | 27 @ 15:15
WEST | 2069.0274 | 2299.4369 | 1466.8132 | 1644.6782 | 1959.7412 | 2014.0965 | 2087.9404 | 2140.5586 | 2044.8357 | 1901.3856 | 1668.1311 | 1831.3679
Date and Time | 22 @ 07:30 | 19 @ 07:15 | 30 @ 17:45 | 13 @ 18:45 | 22 @ 17:00 | 8 @ 18:15 | 31 @ 18:00 | 9 @ 17:45 | 22 @ 16:00 | 1 @ 16:45 | 30 @ 18:45 | 2 @ 07:30
Net Zone Energy, MWh
Weather Zone | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec*
COAST | 9748173.7075 | 8656560.6374 | 9386288.5145 | 10102907.2944 | 11474382.1075 | 12260181.1328 | 12897169.526 | 13026180.666 | 11827230.5213 | 10908519.9537 | 9284756.8605 | 9447780.088
EAST | 1485800.5628 | 1193442.6933 | 1086725.5156 | 1135368.1136 | 1285959.7416 | 1435377.887 | 1574241.0311 | 1601440.3569 | 1411144.5613 | 1297399.4339 | 1121728.3574 | 1278559.1037
FWEST | 5422770.304 | 4742229.0901 | 5259878.8795 | 5195419.9953 | 5501608.8818 | 5420119.0002 | 5695255.6609 | 5868932.8582 | 5641574.7812 | 5658242.0306 | 5428543.9188 | 5655715.3749
NCENT | 11937946.7618 | 9956497.3967 | 8980740.4489 | 9422195.7867 | 10575039.2109 | 12696155.8758 | 13801057.4987 | 14075517.8227 | 11927837.1673 | 10733186.8097 | 9259007.6443 | 10521833.7509
NORTH | 1291506.3329 | 1105035.7705 | 1047383.4912 | 1073990.5576 | 1178468.0113 | 1356249.5424 | 1533201.6501 | 1498794.2168 | 1377079.1055 | 1312421.5187 | 1191672.9706 | 1268663.8331
SCENT | 6505092.309 | 5487695.4047 | 5331501.895 | 5786537.1764 | 6779083.0808 | 7368840.2132 | 7552567.6936 | 8231406.4096 | 7161194.51 | 6638108.2392 | 5366432.1509 | 5739592.3171
SOUTH | 3044026.1662 | 2672574.64 | 2773611.7626 | 2907498.46 | 3433328.5482 | 3531275.8153 | 3686398.5002 | 3909399.9447 | 3571825.6362 | 3424125.79 | 2966622.4536 | 2896132.2305
WEST | 1050912.2345 | 886482.9158 | 852451.8773 | 881796.5444 | 984567.7196 | 1098632.8345 | 1106444.3116 | 1201768.6382 | 1059171.3361 | 1013747.0622 | 941792.0447 | 1024747.6776
* Information for this month has been updated based on final settlements.
Totals may not match the ERCOT values because of rounding and subsequent settlements.

## Energy by Fuel Type
Energy by Fuel Type for 2025
Energy by Fuel Type, MWh
Fuel Types | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec* | YTD/Annual
Biomass | 35961.4993 | 18601.4609 | 7336.6839 | 9921.2942 | 13667.038 | 27176.661 | 34597.0737 | 53153.2764 | 48468.0273 | 36224.7126 | 23155.5378 | 54542.8516 | 362806.1168
Coal | 6520660.7079 | 4784808.1613 | 4224478.3422 | 4171661.0497 | 4695607.2964 | 5516155.5148 | 6066200.7567 | 6291156.6768 | 6018910.7176 | 5557963.8518 | 4528669.6487 | 4664148.9179 | 63040421.6418
Gas | 2816816.2043 | 2284628.8842 | 1873925.8788 | 2499057.0055 | 3072209.1398 | 3255409.8454 | 4252549.1979 | 5369712.4668 | 3602590.7353 | 3776820.1543 | 3049605.3608 | 2942302.1846 | 38795627.0576
Gas-CC | 14469519.685 | 11576404.7212 | 7677525.0979 | 9008815.5748 | 14301985.8849 | 15159554.9155 | 17326093.2494 | 19506932.8286 | 17235806.7939 | 13669740.2643 | 9907692.2805 | 11978617.5668 | 161818688.8629
Hydro | 39554.4182 | 28055.1765 | 23225.9501 | 53760.3969 | 112019.7831 | 113447.2849 | 83329.1302 | 32592.3587 | 22587.717 | 11975.9535 | 11819.8698 | 17693.8933 | 550061.9322
Net DC/BLT | -23703.5572 | -1886.8646 | -4423.5109 | 19691.9147 | -23690.1227 | 8804.6922 | 35416.7921 | 57461.1953 | 53148.2865 | 35677.5904 | 54447.7218 | 122984.0384 | 333928.176
Nuclear | 3798721.0297 | 3418937.5067 | 3767491.2125 | 3305878.819 | 3301988.5077 | 3600036.8109 | 3702899.6857 | 3688409.4361 | 3385286.729 | 2838036.6836 | 3311239.207 | 3793172.7245 | 41912098.3524
Other | 366662.7981 | 351806.413 | 422256.079 | 403067.3098 | 380888.7995 | 378528.044 | 441688.9541 | 536793.8969 | 534533.1729 | 558515.014 | 544125.5019 | 618644.3978 | 5537510.3809
Solar | 3339764.0724 | 3689372.3015 | 5181112.576 | 5309451.9674 | 6550523.3389 | 6972272.0368 | 7249768.0806 | 7423407.3927 | 6964545.7012 | 6179521.0958 | 4886833.6816 | 4067455.0255 | 67814027.2705
WSL | -437746.1213 | -423387.7351 | -503681.9399 | -480794.817 | -467695.9482 | -468822.2545 | -535553.0969 | -655037.7458 | -643729.9956 | -679048.0797 | -645344.6652 | -739322.5295 | -6680164.9287
Wind | 9560017.6423 | 8973178.523 | 12049336.0151 | 12205203.4134 | 9274933.5844 | 10604268.7501 | 9189346.0487 | 7108859.1306 | 6754909.7336 | 9000323.5973 | 9888312.2561 | 10312785.3049 | 114921473.9996
Total | 40486228.3787 | 34700518.5486 | 34718582.3846 | 36505713.9284 | 41212437.3019 | 45166832.3011 | 47846335.8723 | 49413440.9131 | 43977057.6189 | 40985750.8379 | 35560556.4008 | 37833024.3758 | 488406478.862
Energy by Fuel Type, Percent
Fuel Types | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec* | YTD/Annual
Biomass | 0.0888% | 0.0536% | 0.0211% | 0.0272% | 0.0332% | 0.0602% | 0.0723% | 0.1076% | 0.1102% | 0.0884% | 0.0651% | 0.1442% | 0.0743%
Coal | 16.11% | 13.79% | 12.17% | 11.43% | 11.39% | 12.21% | 12.68% | 12.73% | 13.69% | 13.56% | 12.74% | 12.33% | 12.91%
Gas | 6.957% | 6.584% | 5.397% | 6.846% | 7.455% | 7.207% | 8.888% | 10.87% | 8.192% | 9.215% | 8.576% | 7.777% | 7.943%
Gas-CC | 35.74% | 33.36% | 22.11% | 24.68% | 34.7% | 33.56% | 36.21% | 39.48% | 39.19% | 33.35% | 27.86% | 31.66% | 33.13%
Hydro | 0.0977% | 0.0808% | 0.0669% | 0.1473% | 0.2718% | 0.2512% | 0.1742% | 0.066% | 0.0514% | 0.0292% | 0.0332% | 0.0468% | 0.1126%
Net DC/BLT | -0.0585% | -0.0054% | -0.0127% | 0.0539% | -0.0575% | 0.0195% | 0.074% | 0.1163% | 0.1209% | 0.087% | 0.1531% | 0.3251% | 0.0684%
Nuclear | 9.383% | 9.853% | 10.85% | 9.056% | 8.012% | 7.97% | 7.739% | 7.464% | 7.698% | 6.924% | 9.312% | 10.03% | 8.581%
Other | 0.9056% | 1.014% | 1.216% | 1.104% | 0.9242% | 0.8381% | 0.9231% | 1.086% | 1.216% | 1.363% | 1.53% | 1.635% | 1.134%
Solar | 8.249% | 10.63% | 14.92% | 14.54% | 15.89% | 15.44% | 15.15% | 15.02% | 15.84% | 15.08% | 13.74% | 10.75% | 13.88%
WSL | -1.081% | -1.22% | -1.451% | -1.317% | -1.135% | -1.038% | -1.119% | -1.326% | -1.464% | -1.657% | -1.815% | -1.954% | -1.368%
Wind | 23.61% | 25.86% | 34.71% | 33.43% | 22.51% | 23.48% | 19.21% | 14.39% | 15.36% | 21.96% | 27.81% | 27.26% | 23.53%
Total | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100%
* Information for this month has been updated based on final settlements.
Companies are not required to notify ERCOT when their dual fuel units are using secondary fuel. Therefore, values shown here are calculated based on primary fuel type and may not exactly reflect the fuels being used by dual
fuel units. Dual fuel units are included in the category of their primary fuel.
A positive value in the 'Net DC/BLT' row indicates import of power, negative indicates export.
Other includes petroleum coke, distillate fuel oil, and any other or unknown fuel.

## Energy by Fuel Chart
Fuel Types | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec*
Biomass | 35.9615 | 18.6015 | 7.3367 | 9.9213 | 13.667 | 27.1767 | 34.5971 | 53.1533 | 48.468 | 36.2247 | 23.1555 | 54.5429
Coal | 6520.6607 | 4784.8082 | 4224.4783 | 4171.661 | 4695.6073 | 5516.1555 | 6066.2008 | 6291.1567 | 6018.9107 | 5557.9639 | 4528.6696 | 4664.1489
Gas | 2816.8162 | 2284.6289 | 1873.9259 | 2499.057 | 3072.2091 | 3255.4098 | 4252.5492 | 5369.7125 | 3602.5907 | 3776.8202 | 3049.6054 | 2942.3022
Gas-CC | 14469.5197 | 11576.4047 | 7677.5251 | 9008.8156 | 14301.9859 | 15159.5549 | 17326.0932 | 19506.9328 | 17235.8068 | 13669.7403 | 9907.6923 | 11978.6176
Hydro | 39.5544 | 28.0552 | 23.226 | 53.7604 | 112.0198 | 113.4473 | 83.3291 | 32.5924 | 22.5877 | 11.976 | 11.8199 | 17.6939
Net DC/BLT | -23.7036 | -1.8869 | -4.4235 | 19.6919 | -23.6901 | 8.8047 | 35.4168 | 57.4612 | 53.1483 | 35.6776 | 54.4477 | 122.984
Nuclear | 3798.721 | 3418.9375 | 3767.4912 | 3305.8788 | 3301.9885 | 3600.0368 | 3702.8997 | 3688.4094 | 3385.2867 | 2838.0367 | 3311.2392 | 3793.1727
Other | 366.6628 | 351.8064 | 422.2561 | 403.0673 | 380.8888 | 378.528 | 441.689 | 536.7939 | 534.5332 | 558.515 | 544.1255 | 618.6444
Solar | 3339.7641 | 3689.3723 | 5181.1126 | 5309.452 | 6550.5233 | 6972.272 | 7249.7681 | 7423.4074 | 6964.5457 | 6179.5211 | 4886.8337 | 4067.455
WSL | -437.7461 | -423.3877 | -503.6819 | -480.7948 | -467.6959 | -468.8223 | -535.5531 | -655.0377 | -643.73 | -679.0481 | -645.3447 | -739.3225
Wind | 9560.0176 | 8973.1785 | 12049.336 | 12205.2034 | 9274.9336 | 10604.2687 | 9189.346 | 7108.8591 | 6754.9097 | 9000.3236 | 9888.3123 | 10312.7853
* Information for this month has been updated based on final settlements.
* Chart excludes Wholesale Storage Load and Net DC/BLT because these resource categories can have negative values.

## data_Energy by Fuel Chart_1 (hidden)
| Nuclear | Coal | Wind | Solar | Hydro | Biomass | Other | Gas-CC | Gas
Jan* | 3799 | 6521 | 9560 | 3340 | 40 | 36 | 367 | 14470 | 2817
Feb* | 3419 | 4785 | 8973 | 3689 | 28 | 19 | 352 | 11576 | 2285
Mar* | 3767 | 4224 | 12049 | 5181 | 23 | 7 | 422 | 7678 | 1874
Apr* | 3306 | 4172 | 12205 | 5309 | 54 | 10 | 403 | 9009 | 2499
May* | 3302 | 4696 | 9275 | 6551 | 112 | 14 | 381 | 14302 | 3072
Jun* | 3600 | 5516 | 10604 | 6972 | 113 | 27 | 379 | 15160 | 3255
Jul* | 3703 | 6066 | 9189 | 7250 | 83 | 35 | 442 | 17326 | 4253
Aug* | 3688 | 6291 | 7109 | 7423 | 33 | 53 | 537 | 19507 | 5370
Sep* | 3385 | 6019 | 6755 | 6965 | 23 | 48 | 535 | 17236 | 3603
Oct* | 2838 | 5558 | 9000 | 6180 | 12 | 36 | 559 | 13670 | 3777
Nov* | 3311 | 4529 | 9888 | 4887 | 12 | 23 | 544 | 9908 | 3050
Dec* | 3793 | 4664 | 10313 | 4067 | 18 | 55 | 619 | 11979 | 2942

## Energy Comparisons
* Information for this month has been updated based on final settlements.
* Information for this month has been updated based on final settlements.

## data_Energy Comparisons_1 (hidden)
| 2024 Actual | 2025 Actual
Jan* | 38184 | 40486
Feb* | 30628 | 34701
Mar* | 32205 | 34719
Apr* | 33463 | 36506
May* | 39974 | 41212
Jun* | 44375 | 45167
Jul* | 44556 | 47846
Aug* | 49283 | 49413
Sep* | 41003 | 43977
Oct* | 39228 | 40986
Nov* | 33761 | 35561
Dec* | 34918 | 37833

## data_Energy Comparisons_2 (hidden)
| 2025 Forecast | 2025 Actual
Jan* | 43620 | 40486
Feb* | 38814 | 34701
Mar* | 40700 | 34719
Apr* | 40140 | 36506
May* | 45412 | 41212
Jun* | 50095 | 45167
Jul* | 53643 | 47846
Aug* | 54303 | 49413
Sep* | 47762 | 43977
Oct* | 45185 | 40986
Nov* | 41725 | 35561
Dec* | 45234 | 37833

## Demand Comparisons
* Information for this month has been updated based on final settlements.
Information is based on Hourly Intervals.
* Information for this month has been updated based on final settlements.
Information is based on Hourly Intervals.

## data_Demand Comparisons_1 (hidden)
| 2024 Actual | 2025 Actual
Jan* | 78349 | 77482
Feb* | 55860 | 80560
Mar* | 55306 | 62924
Apr* | 64003 | 65617
May* | 77139 | 78399
Jun* | 79697 | 77396
Jul* | 81045 | 81734
Aug* | 85245 | 83707
Sep* | 77813 | 79949
Oct* | 72550 | 75904
Nov* | 60174 | 64732
Dec* | 60245 | 63172

## data_Demand Comparisons_2 (hidden)
| 2025 Forecast | 2025 Actual
Jan* | 74424 | 77482
Feb* | 77156 | 80560
Mar* | 67471 | 62924
Apr* | 70459 | 65617
May* | 80786 | 78399
Jun* | 85792 | 77396
Jul* | 87532 | 81734
Aug* | 90472 | 83707
Sep* | 85345 | 79949
Oct* | 79893 | 75904
Nov* | 70695 | 64732
Dec* | 75775 | 63172